**SUPPLY AND DELIVERY OF POTABLE WATER**

**Guyana Shore Base Inc.** hereby invites interested companies to submit a quote for the Supply and Delivery of Potable Water.

**Scope of Work**

* Daily delivery of water to GYBSI Houston – 90 bottles
* Daily delivery of water to GTE Site (Reynstein, West Coast) – 32 bottles
* The Supplier should be able to deliver on holidays and weekends.

**Potable/Drinking Water Requirements**

Supplier to provide documentation detailing good/best practice requirements:

* Water Plant System setup
* Water source
* Systems in place for water source protection and source management
* Water treatment process.
* Evidence of system in place for monitoring water quality
* Tests done to detect/determine/monitor:
* Microbial/Fecal indices
* Toxicological indices (Arsenic, Lead, Mercury, etc.)
* Sensory properties and general chemical indices (pH, Turbidity, Chlorine, Iron, Total dissolved solids, etc.)
* Plant Inspection reports and surveillance process.

**GYSBI Quality Control Plan**

With every batch of water delivered to GYSBI, water quality test results, from an approved/certified Laboratory, should be provided from random samples produced within said batch.

**Instructions to Bidders**

1. Proposals are to be submitted along **Valid Business Registration or equivalent, Valid GRA & NIS Compliance, Local Content Certificate.**
2. Proposal and documents must be submitted to the e-mail address below **on or**

**before 14th March 2024.**



**Release Date: February 29th, 2024**